ANNEX-6:

6.1. DEVICE SPECIFIC GROUPING OF CLASS I OR CLASS II DENTAL MEDICAL DEVICES USING DENTAL GROUPING TERMS

Dental Grouping Terms (DGT) are collective generic terms used to describe a group of similar Class I and Class II dental medical devices with a common intended purpose.

A DGT grouping of dental medical devices is a collection of dental devices and each individual device:

- is from the same product owner ;

- is of the same risk classification (either Class I only or Class II only); and

- intended purpose falls within the descriptor of one DGT.

The product registration application may contain accessories of a lower risk class if they are specifically intended to be used together with the dental devices submitted under a DGT.

For Class I only or Class II only (where applicable, with accessories) dental medical devices, the applicant may choose to group their dental devices using the general grouping criteria described in General Grouping Criteria or this device specific grouping criteria using the DGT for product registration. DGT is not applicable to Class III and Class IV dental medical devices.

|  |  |  | Dental medical devices |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Class I only or Class II only devices |  | Class C or Class D |  |
|  | Device Specific | Grouping as per |  |  |
|  | Grouping Criteria for |  | Grouping as per |
|  |  | GENERAL GROUPING CRITERIA Guidance |  |
|  | Class A and B |  | GENERAL GROUPING CRITERIA Guidance |
|  |  | document |  |
|  | dental devices - |  | document |

DGT

Figure 1 Dental medical device grouping consideration

When dental devices satisfy the above conditions to be grouped in one DGT application, the device name listed on the ERIS upon approval will be based on the dental grouping term used. The descriptor of the DGT will be used as the description of intended use on ERIS. The individual models will be listed on the ERIS as per product name (device label) under the section “Model Info”.

6.1.1. LIST OF DENTAL GROUPING TERMS (DGT) AND RESPECTIVE DESCRIPTORS

The list of DGT and respective descriptors are only applicable to Class I only and Class II only dental devices.

|  | No | DGT | Descriptor |  |  |
| --- | --- | --- | --- | --- | --- |
|  | 1. | Adhesive kit for | A kit/pack that contains a collection of devices intended to |
|  |  | dental composite | be used to bond attachments such as hooks or buttons to |
|  |  |  | the teeth and/or to an orthodontic aligner during dental or |
|  |  |  | orthodontic teeth adjustment. |  |  |
|  | 2. | Cryoanaesthesia | A dental brace-like device that is chilled to |
|  |  | device, dental | freezing/subfreezing temperatures and then applied to the |
|  |  |  | labial sulci (gums) in a patient's mouth for a period to |
|  |  |  | provide a cold anaesthesia for the underlying nerves. This |
|  |  |  | device may be used as a substitute for hypodermic drug |
|  |  |  | delivery during dental procedures. |  |  |
|  | 3. | Cryogenic spray, | A refrigerant use to cool down a tooth by spraying on it, |
|  |  | dental | mainly to find out if the pulp is vital. It can also be used as |
|  |  |  | a local anaesthetic when extracting deciduous teeth in |
|  |  |  | children. |  |  |
|  | 4. | Cusps, dental | A device designed to provide an artificial projection on the |
|  |  |  | chewing surface of the tooth to achieve a proper bite |
|  | 5. | Dental abrasives | A dental material which can be applied with an appropriate |
|  |  |  | device to the surface of teeth or dental devices for |
|  |  |  | prophylactic and/or treatment applications. This includes |
|  |  |  | removal of plaque and stains, cleaning fissures (above and |
|  |  |  | below the gingiva), the preparation of a tooth surface prior |
|  |  |  | to bonding, the cleaning of orthodontic appliances (bands |
|  |  |  | and brackets), the removal of adhesive residue, and the |
|  |  |  | cleaning of implants prior to loading. It may include |
|  |  |  | accessories required for dental abrasion. |  |  |
|  | 6. | Dental absorbent | Non medicated device intended to be used to absorb fluids |
|  |  |  | during dental procedures. |  |  |
|  | 7. | Dental adhesives/ | A material used as a bonding promoting substance |
|  |  | primers | between dental materials. It does not include cements. |
|  | 8. | Dental broach | A device that is designed with an abrasive outer surface to |
|  |  |  | cut, open, enlarge, resurface with precision holes in hard |
|  |  |  | tissues (e.g. bones, root canals), extirpating pulp and/or for |
|  |  |  | exploring the root canal. |  |  |

|  | No | DGT | Descriptor |  |  |
| --- | --- | --- | --- | --- | --- |
|  | 9. | Dental burs | A rotary cutting device designed to fit into a dental |
|  |  |  | handpiece and intended to cut hard structures in the mouth, |
|  |  |  | e.g. teeth or bone. |  |  |
|  | 10. | Dental caries | A device designed to measure resistance to the flow of |
|  |  | detector, electrical | electric current across teeth for the diagnosis of early stage |
|  |  | impedance | dental caries and/or to monitor the progress of caries |
|  |  |  | (carious areas being less resistant due to higher |
|  |  |  | concentrations of fluid). |  |  |
|  | 11. | Dental caries | A device designed to determine the changes in the |
|  |  | detector, optical | fluorescence of teeth enamel and dentine due to mineral |
|  |  | induced | loss, mainly for the diagnosis of early stage dental caries |
|  |  | fluorescence | and/or to monitor the progress of caries |  |  |
|  | 12. | Dental caries | A substance used to detect and remove caries from an |
|  |  | removal solution | infected tooth. |  |  |
|  | 13. | Dental casting | Compounds associated with the formation of a dental cast, |
|  |  | materials | i.e. a positive copy of a part of the oral anatomy made in an |
|  |  |  | impression (mould). |  |  |
|  | 14. | Dental cavity liner | A substance intended to be applied to the interior of a |
|  |  |  | prepared cavity before insertion of restorative material, to |
|  |  |  | protect the pulp of a tooth from chemical irritation. |
|  | 15. | Dental cement | Compounds used to bond a dental prosthesis to the |
|  |  |  | anatomy (luting agent), to form an insulating layer under |
|  |  |  | dental restorations. It may include accessories to complete |
|  |  |  | the cementing procedure. |  |  |
|  | 16. | Dental cement kit | A kit/pack that contains a collection of components |
|  |  |  | designed to complete a cementing procedure. |
|  | 17. | Dental crowns/ | A material used to manufacture partial or full crowns and |
|  |  | bridges | bridges. |  |  |
|  | 18. | Dental | A substance that destroys harmful microorganisms or |
|  |  | disinfectants | inhibit their activity on medical devices which are specific |
|  |  |  | for dental purposes or for use in dental procedures. It is not |
|  |  |  | intended for disinfection as end point of processing. |
|  | 19. | Dental dry field | A device used in orthodontic and restorative dentistry to |
|  |  | device | maintain a dry oral cavity for treatment procedures. It forms |
|  |  |  | a frame around the oral cavity and provides the operator |
|  |  |  | with easy access to the field of operation by holding the |
|  |  |  | mouth open, displacing the tongue, and removing saliva |
|  |  |  | during various procedures |  |  |

|  | No | DGT | Descriptor |
| --- | --- | --- | --- |
|  | 20. | Dental dry field kit | A kit/pack that contains a collection of devices used in |
|  |  |  | orthodontic and restorative dentistry to maintain a dry oral |
|  |  |  | cavity for treatment procedures. It provides the operator |
|  |  |  | with easy access to the field of operation by holding the |
|  |  |  | mouth open, displacing the tongue, and removing saliva |
|  |  |  | during various procedures. |
|  | 21. | Dental etching | A device used to create a retentive surface for a composite, |
|  |  | composite | an adhesive or a pit and fissure sealant. |
|  | 22. | Dental file | A device that is intended for smoothing, filing or cutting |
|  |  |  | during dental procedure and typically have various forms of |
|  |  |  | fine-ridged cutting surfaces along part or all of their working |
|  |  |  | length. This device may be used to remove gross |
|  |  |  | supragingival calculus, smooth the cementoenamel |
|  |  |  | junction (CEJ), finish the margins of the teeth or other |
|  |  |  | dental restorations or enlarge the root canal. |
|  | 23. | Dental implant | A rotary dental instrument designed for the debridement of |
|  |  | debridement | a patient's dental implants affected by peri-implantitis. |
|  |  | brush |  |  |
|  | 24. | Dental implant | A device used to retrieve a dental implant from the oral |
|  |  | extractor | cavity. |
|  | 25. | Dental implant, | Device designed to provide support and a means of |
|  |  | accessories | retention for a dental prosthesis during surgical placement |
|  |  |  | of a dental implant into alveolar and/ or basal bone of the |
|  |  |  | mandible or maxilla. |
|  | 26. | Dental implant, | A small rod that bears prosthetic teeth and allows them to |
|  |  | prosthetic teeth | be attached to the dental implant abutments. |
|  |  | bar |  |  |
|  | 27. | Dental implant, | A prefabricated device that is incorporated into, or creates, |
|  |  | suprastructure | a suprastructure on dental implants to mimic preparations |
|  |  |  | of natural teeth. |
|  | 28. | Dental | A kit/pack that contains a collection of various dental |
|  |  | implant/prosthesis | instruments designed for the surgical placement of dental |
|  |  | , surgical | implants or prostheses. It does not contain |
|  |  | procedure kit | pharmaceuticals. |
|  | 29. | Dental precision | Dental device designed for attaching a fixed or removable |
|  |  | attachments | prosthesis to the crown of an abutment tooth, dental |
|  |  |  | restoration (including implants), or dental appliance. |

|  | No | DGT | Descriptor |  |  |
| --- | --- | --- | --- | --- | --- |
|  | 30. | Dental procedure | An assembly of devices designed to bore/ excavate bones, |
|  |  | console and | teeth, and tough tissues during a dental surgical procedure. |
|  |  | accessories, | The system is powered by pressurized water via a |
|  |  | hydraulic | connecting hose to the handpiece/motor water-driven |
|  |  |  | turbine. |  |  |
|  | 31. | Dental procedure | An assembly of devices designed to bore/ excavate bones, |
|  |  | console and | teeth, and tough tissues during a dental surgical procedure. |
|  |  | accessories, line- | This system is electrically-powered and supplies the |
|  |  | powered | handpiece/motor with low-voltage electricity through a |
|  |  |  | control unit. |  |  |
|  | 32. | Dental procedure | An assembly of devices designed to bore/excavate bones, |
|  |  | console and | teeth, and tough tissues during a dental surgical procedure. |
|  |  | accessories, | The system is pneumatically-powered. |  |  |
|  |  | pneumatic |  |  |  |
|  | 33. | Dental procedure | A hand-held dental device that includes a chuck for |
|  |  | handpiece, | attaching dental drills, burs, reamers, and similar rotating |
|  |  | hydraulic | instruments used to bore/excavate bones, teeth, and tough |
|  |  |  | tissues in dentistry. The device is driven by a source of |
|  |  |  | pressurized water. |  |  |
|  | 34. | Dental procedure | A hand-held dental device that includes a chuck or collet |
|  |  | handpiece, line- | for attaching a dental drill, bur, reamer, and other similar |
|  |  | powered | rotating instruments used to bore/excavate bones, teeth, |
|  |  |  | and tough tissues in dentistry. It is powered by a low- |
|  |  |  | voltage electric micro-motor that is an integral part of the |
|  |  |  | device. |  |  |
|  | 35. | Dental procedure | A hand-held dental device that includes a chuck for |
|  |  | handpiece, | attaching dental drills, burs, reamers, and similar rotating |
|  |  | pneumatic | instruments used to bore/excavate bones, teeth, and tough |
|  |  |  | tissues in dentistry. It is pneumatically-powered. |
|  | 36. | Dental pulp | A device intended to be applied to the surface of a tooth |
|  |  | testing electrode | before use of a pulp tester to aid conduction of electrical |
|  |  | gel | current. |  |  |
|  | 37. | Dental pulp- | A dental compound designed to cover an exposed or |
|  |  | capping material | nearly-exposed dental pulp (e.g., due to deep cavities) to |
|  |  |  | provide protection against external influences and to |
|  |  |  | promote healing. This compound does not have dental |
|  |  |  | cement or dental cavity liner intended uses. |  |  |
|  | 38. | Dental reamer | A device that is designed with fine-toothed cutting edges to |
|  |  |  | cut, open, enlarge openings in, and/or resurface hard |
|  |  |  | tissues (e.g. bones, root canals) with precision. |

|  | No | DGT | Descriptor |
| --- | --- | --- | --- |
|  | 39. | Dental reinforcing | A device used in general restorative dentistry and |
|  |  | fibre | orthodontic treatment as reinforcement of dental materials, |
|  |  |  | used for the construction of dental prostheses. It may also |
|  |  |  | be used for the stabilization of avulsed teeth maintaining |
|  |  |  | diastema closures or split-tooth syndrome. |
|  | 40. | Dental restorative | A substance used to cover dental filling material in the initial |
|  |  | / cavity varnish | setting period after application typically to prevent moisture |
|  |  |  | infiltration for the protection of pulpal tissue and to provide |
|  |  |  | a marginal seal to newly placed amalgam restorations. |
|  | 41. | Dental restorative | A substance intended to fill dental cavities, seal pits and |
|  |  | / repair materials | fissures, restore damaged dental tissues, or for inlays, |
|  |  |  | onlays and veneering. It may include accessories that are |
|  |  |  | used specifically with the materials. It does not include |
|  |  |  | obturation of root canal. |
|  | 42. | Dental restorative/ | A kit/pack that contains a collection of devices designed to |
|  |  | repair kit | fill dental cavities, seal pits and fissures, restore damaged |
|  |  |  | dental tissues, or for inlays, onlays and veneering. It does |
|  |  |  | not include obturation of root canal. |
|  | 43. | Dental retention | A device intended to be placed permanently in the tooth to |
|  |  | pin | provide retention and/or stabilization of dental restorations, |
|  |  |  | e.g. fillings or crowns. |
|  | 44. | Dental retention | A kit/pack that contains a collection of devices intended for |
|  |  | pin kit | the insertion of permanent pins in healthy dentin to provide |
|  |  |  | retention and/or stabilization of dental restorations, e.g. |
|  |  |  | fillings and crowns. |
|  | 45. | Dental scalers, | Scaler tip/inserts which may consist of handpieces that are |
|  |  | pneumatic | designed to use compressed air to generate a vibrating |
|  |  |  | action at its point of patient contact for the removal of |
|  |  |  | accretions from tooth surfaces during dental cleaning or |
|  |  |  | periodontal (gum) therapy. |
|  | 46. | Dental scalers, | Scaler tip/inserts which may consist of handpieces that |
|  |  | rotary | provides rotation and is used to remove calculus deposits |
|  |  |  | and other accretions from tooth surfaces during dental |
|  |  |  | cleaning and periodontal (gum) therapy. |
|  | 47. | Dental scalers, | Scaler tip/inserts (which function as part of an ultrasonic |
|  |  | ultrasonic | scaler system) which may consist of handpieces that |
|  |  |  | together transmit ultrasonic energy from a generator to the |
|  |  |  | oral cavity for the removal of accretions from tooth surfaces |
|  |  |  | during dental cleaning or periodontal (gum) therapy. |

|  | No | DGT | Descriptor |
| --- | --- | --- | --- |
|  | 48. | Dental scaling | An assembly of devices designed to use compressed air to |
|  |  | system, | generate a vibrating action at its point of patient contact for |
|  |  | pneumatic | the removal of accretions from tooth surfaces during dental |
|  |  |  | cleaning or periodontal (gum) therapy. The handpiece may |
|  |  |  | connect to an existing air driven handpiece tubing and the |
|  |  |  | water spray for lavage. This device is used for procedures |
|  |  |  | that may involve the removal of plaque, biofilm, or gross |
|  |  |  | calculus from shallow to deep periodontal pockets. It can |
|  |  |  | be also used for the removal of orthodontic cement. |
|  | 49. | Dental scaling | An assembly of powered dental handpiece that provides |
|  |  | system, rotary | rotation and is used to remove calculus deposits and other |
|  |  |  | accretions from tooth surfaces during dental cleaning and |
|  |  |  | periodontal (gum) therapy. This device is used for |
|  |  |  | procedures that may involve the removal of plaque, biofilm, |
|  |  |  | or gross calculus from shallow to deep periodontal pockets. |
|  |  |  | It can be also used for the removal of orthodontic cement. |
|  | 50. | Dental scaling | An assembly of devices that uses ultrasonic energy at its |
|  |  | system, ultrasonic | point of patient contact to remove accretions from tooth |
|  |  |  | surfaces during dental cleaning or periodontal (gum) |
|  |  |  | therapy. This device is used for procedures that may |
|  |  |  | involve the removal of plaque, biofilm, or gross calculus |
|  |  |  | from shallow to deep periodontal pockets. It can be also |
|  |  |  | used for the removal of orthodontic cement. |
|  | 51. | Dental sealants, | A substance used in endodontics to fill or permanently |
|  |  | endodontic | obturate the root canal of a tooth. The substance may be |
|  |  |  | intended for orthograde use (i.e., a root filling placed from |
|  |  |  | the coronal aspect). |
|  | 52. | Dental sealants, | A material intended for sealing pits and fissures on teeth. It |
|  |  | pit/fissure | may include accessories to complete the sealing |
|  |  |  | procedure. |
|  | 53. | Dental shaded | A kit/pack that contains a collection of devices intended to |
|  |  | pontic kit | be used to produce artificial tooth veneers (shaded pontics) |
|  |  |  | typically inside clear plastic custom-made teeth aligners |
|  |  |  | (retainer-style orthodontic appliances). This is used to |
|  |  |  | create the appearance of teeth inside the aligner to cover |
|  |  |  | spaces where teeth may be missing for aesthetic and/or |
|  |  |  | therapeutic purposes during treatment to realign teeth. |
|  | 54. | Dental solution, | A substance used to soften and partially solubilize a dental |
|  |  | scaling | calculus (a hard deposit that forms on the teeth) before |
|  |  |  | scaling mechanically so that less force is required, |
|  |  |  | especially when teeth are loose. |

|  | No | DGT | Descriptor |  |  |
| --- | --- | --- | --- | --- | --- |
|  | 55. | Denture base | A material used for the fabrication of a denture base or |
|  |  | resins | repair of a denture. |  |  |
|  | 56. | Denture clasps | Dental devices designed to retain and stabilize removable |
|  |  |  | partial dentures to stationary teeth. |  |  |
|  | 57. | Denture reliners | A device that is applied as a permanent coating or lining on |
|  |  |  | the base or tissue-contacting surface of a denture to |
|  |  |  | provide a new fitting surface to a denture. |  |  |
|  | 58. | Dental suction | A component of a dental suction system designed to be |
|  |  | system cannula | inserted into the oral cavity for the aspiration and removal |
|  |  |  | of blood, pus, saliva, debris, and water during a dental |
|  |  |  | procedure. |  |  |
|  | 59. | Facebow | A caliper-like dental instrument used to record the relative |
|  |  |  | position of the maxillary arch to the temporo-mandibular |
|  |  |  | joint (TMJ), or the opening axis of the jaw. It is used to |
|  |  |  | orient dental casts in the same relationship to the opening |
|  |  |  | axis of the articulator. |  |  |
|  | 60. | Fixture/appliance | A device intended to be used in dental surgery to create |
|  |  | dental drill | channels of appropriate depth and diameter in bone |
|  |  |  | (osteotomy) of the oral cavity to facilitate the implantation |
|  |  |  | of a dental fixture/appliance. It is attached to a motorized |
|  |  |  | handpiece or other power source that provides rotation. |
|  | 61. | Gingiva bleaching | A substance designed to protect a patient's gums from the |
|  |  | protector | hydrogen peroxide found in teeth whitening agents used |
|  |  |  | during chairside light-curing bleaching of the teeth. |
|  | 62. | Gingival retraction | A non-medicated device used to temporarily hold off the |
|  |  | cord, non- | gingiva during abutment preparation. |  |  |
|  |  | medicated |  |  |  |
|  | 63. | Gingival retraction | A kit/pack that contains collection of devices used to |
|  |  | kit | temporarily hold off the gingiva during abutment |
|  |  |  | preparation. |  |  |
|  | 64. | Gingival retraction | A substance used in dentistry to induce gingival retraction |
|  |  | solution | by in situ impregnation of a non-medicated gingival |
|  |  |  | retraction cord. It induces contraction of the upper strata of |
|  |  |  | the free gingiva. This device may also induce a local stasis |
|  |  |  | of gingival exudates and gingival haemorrhages. |
|  | 65. | Non-medicated | A kit/pack that contains a collection of dental instruments, |
|  |  | dental surgical | dressings and the necessary materials used to perform a |
|  |  | procedure kit, | dental surgical procedure. It does not contain any |
|  |  |  | pharmaceuticals. |  |  |

|  | No | DGT | Descriptor |
| --- | --- | --- | --- |
|  | 66. | Oral wound | A device intended as a protective cover for the oral mucosa |
|  |  | dressing | to manage wounds and sores in the mouth. It is used for |
|  |  |  | various types of dental wounds, sores and lesions caused |
|  |  |  | by dental prostheses/orthodontic braces; it may also be |
|  |  |  | used to treat mucosal irritations/inflammation, dryness and |
|  |  |  | gingivitis. This does not include pharmaceuticals. |
|  | 67. | Orthodontic | A device used in orthodontic dentistry to intra-orally chill or |
|  |  | appliance | cool thermally-activated archwires when placing bends in |
|  |  | archwire-cooling | an orthodontic appliance. |
|  |  | device |  |  |
|  | 68. | Orthodontic | Dental devices designed to influence the shape and/or |
|  |  | appliances | function of the stomatognathic system through the |
|  |  |  | application of physical force. |
|  | 69. | Orthodontic space | A dental prosthetic replacement for prematurely lost |
|  |  | maintainer | deciduous teeth intended to prevent closure of the space |
|  |  |  | before eruption of the permanent successors. |
|  | 70. | Periodontal | A material which is placed over the periodontal tissues as |
|  |  | dressing | a dressing, normally after surgery. This does not include |
|  |  |  | pharmaceuticals. |
|  | 71. | Root canal filling- | A substance used in endodontic procedures for the |
|  |  | removal solution | softening and removal of root canal fillings. |
|  | 72. | Root canal | A substance used to facilitate cleansing/irrigation of the |
|  |  | irrigation/ rinsing | root canal (the canal space) during and/or after endodontic |
|  |  | solution | instrumentation for the removal of the smear layer, pulpal |
|  |  |  | tissue, necrotic materials, and bacteria from the |
|  |  |  | instrumented root canal, before placement of the |
|  |  |  | endodontic filling. |
|  | 73. | Root canal | A kit/pack that contains a collection of devices designed to |
|  |  | obturation kit | permanently prime, seal, and/or fill a tooth undergoing a |
|  |  |  | root canal procedure. |
|  | 74. | Root canal post | A kit/pack that contains collection of root canal posts and |
|  |  | kit | devices used for the insertion of root canal posts. |
|  | 75. | Root canal posts | A device intended to be inserted and cemented into a |
|  |  |  | prepared root canal of a tooth to stabilize and support a |
|  |  |  | restoration. |
|  | 76. | Root canal | A kit/pack that contains a collection of dental devices |
|  |  | preparation kit | designed to be used in root canal preparation. |

|  | No | DGT | Descriptor |
| --- | --- | --- | --- |
|  | 77. | Root surface | A material used for topical application on exposed/scaled |
|  |  | conditioner | root surfaces for the removal of the smear layer during |
|  |  |  | dental/periodontal surgery. The material is removed after |
|  |  |  | the recommended period to expose the collagenous matrix |
|  |  |  | of dentine surfaces. |
|  | 78. | Tooth | A kit/pack that contains a collection of devices designed to |
|  |  | preservation kit | preserve and transport a tooth that has been knocked out |
|  |  |  | (i.e., avulsed) so it can be reimplanted. It is used to avoid |
|  |  |  | tooth cell crushing and/or dehydration by immersing the |
|  |  |  | tooth in a pH balanced solution compatible with periodontal |
|  |  |  | cells, and is used in field emergency situations after |
|  |  |  | traumatic knock out of teeth. |
|  | 79. | Warm-bonded | Devices designed to deliver preheated sealing, filling, and |
|  |  | endodontic | core materials into a root canal for direct warm bonding |
|  |  | obturation system | during an endodontic obturation procedure. |

Decision Flowchart for Grouping of Dental Medical Devices using Dental

Grouping Terms (DGT)

| From same Product | No |
| --- | --- |
| Owner? |  |

Yes

| Same risk |  | No |
| --- | --- | --- |
| classification (either |  |  |
| Class I only or |  |  |  |
| Class II only)? |  |  |  |
| Yes |  |  |  |
|  |  |  | Cannot be submitted as |
| Falls within the | No |  | one DGT application; |
|  |  |  | refer to GENERAL GROUPING CRITERIA |
| descriptor of one |  |  |  |
|  |  |  | guidance document for |
| DGT? |  |  |  |
|  |  |  | other grouping options |
| Yes |  |  |  |
| Can be submitted as |  |  |  |
| one DGT application |  |  |  |

The following examples provide a comparison between the grouping of dental medical devices using the general grouping criteria in General Grouping Criteria and using the device specific grouping - DGT.

Example:

Product Owner “EFDA Zen” manufactures 3 different dental cements of different cement materials as follows:

|  | Product name | Description |
| --- | --- | --- |
| EFDA Zen 1 dental cement | Main Constituent: Zinc Phosphate |
|  |  |  | Available as 2g and 4g syringes |
| EFDA Zen 2 dental cement | Main Constituent: Polycarboxylate |
|  |  |  | Available as 2g syringe and 2g kit (dispenser, |
|  |  |  | mixing pad) |
| EFDA Zen 3 dental cement | Main Constituent: Glass Ionomer |
|  |  |  | Available as 2g and 4g syringes |

Using the general grouping criteria in GENERAL GROUPING CRITERIA

Based on general grouping criteria in General Grouping Criteria, these 3 products cannot be grouped together as a FAMILY because of the different product material which does not qualify as having a common design and manufacturing process.

Using device specific grouping - DGT

In order to submit a product registration using the device specific grouping criteria in DEVICE SPECIFIC GROUPING CRITERIA guidance document - DGT, the applicant has to determine if the dental medical devices fulfill the DGT requirements:

| From the same product |  | Yes (“EFDA Zen” is the common product owner) |
| --- | --- | --- |
| owner |  |  |  |
| Within the risk |  | Yes (all cement products are Class II medical devices) |
| classification of Class I |  |  |  |
| only or Class II only? |  |  |  |
| Falls within the |  | Yes; all 3 products fall under the DGT of : |
| descriptor of one DGT |  | DGT - Dental Cement |
|  |  | Descriptor for Dental Cement: |
|  |  | Compounds used to bond a dental prosthesis to the anatomy |
|  |  | (luting agent), to form an insulating layer under dental |
|  |  | restorations. It may include accessories to complete the |
|  |  | cementing procedure. |

Therefore, these 3 Class B dental cements, which are different in design and manufacturing process, can be grouped together in one application using the DGT “Dental Cement”. Devices will be listed on ERIS as “EFDA Zen Dental Cement”.

  - DEVICE SPECIFIC GROUPING OF HEARING AIDS

This section applies only to Class II hearing aids and excludes implantable hearing devices.

Generally, hearing aids can be categorized based on:

- Design (i.e Behind the ear (BTE) vs In the ear (ITE) (e.g. ITE devices have all components of the hearing aids are contained in tiny case shell that fits in the ear or canal))

- Technology for sound amplification (i.e. analogue vs digital)

- Communication technology (i.e Wireless vs Non-wireless communication)

A device specific grouping of hearing aids comprises of a collection of hearing aids that are:

- from the same product owner;

- within risk classification Class II only (hearing aids not including the implantable hearing devices);

- have the same design type (i.e. behind the ear or in the ear);

- have the same technology for sound amplification (i.e. analogue or digital); and

- have the same communication technology (i.e. wireless or non-wireless).

The product registration application may contain accessories of a lower risk class if they are specifically intended to be used together with the hearing aids.

For Class II only hearing aids, the applicant may choose to group their devices using the general grouping criteria described in General Grouping Criteria

or this device specific grouping criteria for hearing aids. This device specific grouping criteria for hearing aids would not be applicable for Class III and Class IV medical devices (e.g. cochlear implant systems), as well as Class II hearing devices that are used in conjunction as part of an implantable hearing system (e.g. sound processors of a bone-anchored hearing system).

Hearing Aids

| Class II Hearing Aids |  |  | Class III or Class IV |
| --- | --- | --- | --- |
| Device specific |  | Grouping as per |  |  | Grouping as per |
| Grouping Criteria for |  | GENERAL GROUPING CRITERIA Guidance |  |  | GENERAL GROUPING CRITERIA Guidance |
| Hearing Aids |  | document |  |  | document |

Figure 2 Hearing Aid grouping consideration

When hearing aids satisfy the above conditions to be grouped in one device specific hearing aid grouping application, but have different device proprietary names or brand names, the devices will be listed separately on the ERIS based on their proprietary names upon approval of the application.

Decision Flowchart for Grouping of Hearing Aids

From same

Product Owner?

Yes

Within the risk

classification of

Class II only?

Yes

Have same

design type (in

the ear or behind

the ear)?

Yes

Have same

technology for sound

amplification

(analogue or

digital)?

Yes

No

No

No

No

|  |  | Have same |  | Cannot be submitted |
| --- | --- | --- | --- | --- |
|  |  |  |  | as one device |
|  | communication | No |  |
|  |  |  | specific grouping |
| technology (wireless |  |  |
|  |  | application; refer to |
|  | or non-wireless)? |  |  |
|  |  |  | GENERAL GROUPING CRITERIA guidance |
|  |  |  |  | document for other |
|  | Yes |  | grouping options |
| Can be submitted as one |  |  |
| device specific grouping |  |  |
| application for hearing aids |  |  |

The following example clarifies the possible grouping combinations using the Device Specific Grouping of Hearing Aids.

Example:

Product Owner “EFDA Zen” manufactures a collection of Class II hearing aids, they:

- have the same design type – all are in the ear design

- have the same technology for sound amplification - digital

- comes in two variants in communication technology – using wireless and non-wireless technology

Table 1 Grouping consideration using the Device Specific Grouping of Hearing Aids for this example

| DEVICE SPECIFIC GROUPING CRITERIA |  | Behind the Ear |  | In the Ear |  |
| --- | --- | --- | --- | --- | --- |
| Grouping |  |  |  |  |  |  |  |  |  |
|  |  | Analogue |  | Digital |  | Analogue |  | Digital |
| Criteria |  |  |  |  |  |  |  |  |
| Wireless |  |  |  |  |  |  |  |  |  |
| Non-wireless |  |  |  |  |  |  |  |  |  |

Using Device Specific Grouping of Hearing Aids

Based, on the tabulated consideration, the hearing aids, which differ in the communication technology criteria, they cannot be grouped together in a single application. Hence, two product registration applications have to be submitted separately.

- EFDA Zen hearing aids (non-wireless), and

- EFDA Zen hearing aids (wireless).

  - DEVICE SPECIFIC GROUPING OF IMMUNOHISTOCHEMISTRY IN VITRO DIAGNOSTIC REAGENTS

Immunohistochemistry (IHC) IVD reagents are in vitro diagnostic (IVD) products consisting of polyclonal or monoclonal antibodies labelled with directions for use and performance claims, which may be packaged with ancillary reagents in kits. Their intended use is to identify, by immunological techniques, antigens in tissues or cytologic specimens, and excludes reagents specifically intend to be used with flow cytometry. This section applies to IHC IVD reagents and their accessories only.

A device specific IHC IVD grouping category comprises of a collection of IVD reagents and their accessories that are:

- from the same product owner;

- is of the same risk classification (either Class B only or Class C only);

- based on IHC methodology; and

- within the same IHC IVD Grouping Category as listed below.

When IHC IVD reagents and their accessories satisfy the criteria to be grouped under one of the six prescribed IHC IVD grouping categories, they can be grouped together and submitted in one product registration application. In cases where the IHC IVD reagents have different device proprietary names, they may be grouped together during the product registration submission. However, the products will be listed separately on the ERIS based on their proprietary names.

The device name listed on the ERIS upon approval will be based on the proprietary name and the IHC IVD grouping category used during product registration. The individual models will be listed on the ERIS as per product name (device label) under the section “Model Info”. Alternatively, product owners and applicants may choose to group these devices using the general grouping criteria described in General Grouping Criteria.

If any reagent and its accessories are intended for multiple usage categories such that it can be grouped in more than one IHC IVD grouping category, the applicant can choose to group the reagents and their accessories as part of any one of the IHC IVD categories it qualifies. Information to support the intended purposes of all the reagents and their accessories must be submitted as part of the product registration application.

    - LIST OF IHC IVD GROUPING CATEGORIES

The list of IHC IVD categories for the device specific grouping of Class B only or Class C only IHC reagents and their accessories is a closed and positive list.

| S/N | IHC IVD Grouping | Examples of Analytes |
| --- | --- | --- |
|  | Category (closed list) | (non-exhaustive list) |
| 1 | Selective Therapy | (i) | HER2/neu |
|  |  | (ii) | EGFR |
| 2 | Hematologic Disorder and | (i) | Immunoglobulin Kappa chain |
|  | Blood Cancer Markers | (ii) | Immunoglobulin Lambda chain |
| 3 | Other Cancer Markers | (i) | Alpha fetoprotein (AFP) |
|  |  | (ii) | Cytokeratins |
|  |  | (iii) | CD117 |
| 4 | Pathogen Markers | (i) | Escherichia coli |
|  |  | (ii) | Candida albicans |
|  |  | (iii) | Herpes simplex virus protein VP22 |
| 5 | Immune Disorders | (i) | Anti-nuclear antibodies (ANAs) |
|  |  | (ii) | Anti-topoisomerase |
|  |  | (iii) | Organ-specific autoantibodies |
|  |  | (iv) | Anti-Streptococcal Hyaluronidase |
|  |  | (v) | Anti-Streptokinase |
|  |  | (vi) | Anti-Streptolysin O |
|  |  | (vii) | C-Reactive Protein |
| 6 | Other Pathology Markers | (i) | P57 |
|  |  | (ii) | Growth hormone |

Decision Flowchart for Grouping of Class B only or Class C only IHC IVD

Grouping Category

From same Product

Owner?

No

Yes

Same risk

classification (either	No

Class B only or

Class C only)?

Yes

Based on IHC

methodology?

No

Yes

| Falls within the same | No | Cannot be submitted |
| --- | --- | --- |
|  |  | as one IHC IVD |
| listed IHC IVD |  | application; refer to |
| Category? |  |  |
|  |  | GENERAL GROUPING CRITERIA guidance |
|  |  | document for other |
| Yes |  | grouping options |
| Can be submitted as |  |  |
| one IHC IVD category |  |  |
| application |  |  |

Examples:

Product Owner is “EFDA”

1 Class B IHC IVD category

(e.g. Immune Disorders)

| EFDA ABC Antibody |  | EFDA ABC Antibody |  |  | EFDA XYZ Antibody |  | EFDA XYZ Antibody |
| --- | --- | --- | --- | --- | --- | --- | --- |
| for immunological |  | for immunological |  |  | for immunological |  | for immunological |
| marker A |  | marker B |  |  | marker C |  | marker D |

Figure 3 Example of a Class B IHC IVD grouping category with 4 products within the category

Based on the example provided in Figure 3, the 4 IHC IVD products qualify for submission as one IHC IVD grouping category of “Immune Disorders” and would be listed as 2 ERIS listings based on their proprietary names:

- EFDA ABC Immunohistochemistry Antibody (Immune Disorders)*

- EFDA XYZ Immunohistochemistry Antibody (Immune Disorders)**

- EFDA ABC Antibody for immunological markers A and B are under one listing in which EFDA is the product owner and ABC is the proprietary name.

- EFDA XYZ Antibody for immunological markers C and D are under one listing in which EFDA is the product owner and XYZ is the proprietary name.

Examples:

Product Owner is “EFDA”

1 Class C IHC IVD category

(e.g. Pathogen Markers)

| EFDA ABC Antibody |  | EFDA ABC Antibody |  |  | EFDA DEF Antibody |  | EFDA ZEN Antibody |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Test Kit for pathogen |  | Test Kit for pathogen |  |  | Test Kit for pathogen |  | Test Kit for pathogen |
| marker A |  | marker B |  |  | marker C |  | marker D |

Figure 4 Example of a Class C IHC IVD grouping category with 4 products within the category

Based on the example provided in Figure 4, the four IHC IVD products qualify for submission as one IHC IVD grouping category of “Pathogen Markers” and would be listed as 3 ERIS listings based on their proprietary names:

- EFDA ABC Immunohistochemistry Antibody Test Kit (Pathogen Markers)*

- EFDA DEF Immunohistochemistry Antibody Test Kit (Pathogen Markers)**

- EFDA ZEN Immunohistochemistry Antibody Test Kit (Pathogen Markers)***

- EFDA ABC Antibody Test Kit for pathogen markers A and B are under one listing in which EFDA is the product owner and ABC is the proprietary name.

- EFDA DEF Antibody Test Kit for pathogen marker C is under one listing in which EFDA is the product owner and DEF is the proprietary name.

- EFDA ZEN Antibody Test Kit for pathogen marker D is under one listing in which EFDA is the product owner and ZEN is the proprietary name.

  - DEVICE  SPECIFIC  GROUPING  OF  FLUORESCENCE  IN  SITU

HYBRIDISATION PROBES IN VITRO DIAGNOSTIC REAGENTS

Fluorescence in situ hybridization (FISH) probes are in vitro diagnostic (IVD) products that allow for the detection and localisation of the presence or absence of specific DNA sequences on chromosomes, whereby the hybridisation of the probes with the DNA site will be visible using fluorescence microscopy.

A device specific grouping of FISH probes IVD grouping category comprises of a collection of IVD reagents and their accessories that are:

- from the same product owner;

- is of the same risk classification (either Class B only or Class C only);

- based on FISH methodology; and

- within the same FISH probes IVD Grouping Category as listed below.

When FISH Probes IVD reagents and their accessories satisfy the criteria to be grouped in one of the prescribed FISH Probes IVD grouping categories, they can be grouped together and submitted in one product registration application. In cases where the FISH probes IVD reagents have different device proprietary names, they may be grouped together during the product registration submission. However, the products will be listed separately on the ERIS based on their proprietary names.

The device name listed on the ERIS upon approval will be based on the proprietary name and the FISH Probes IVD grouping category used during product registration. The individual models will be listed on the ERIS as per product name (device label) under the section “Model Info”. Alternatively, product owners and applicants may choose to group these devices using the general grouping criteria described in General Grouping Criteria.

If any reagent and its accessories are intended for multiple usage categories such that it can be grouped in more than one FISH probes IVD grouping

categories, the applicant can choose to group the reagent and their accessories as part of any one of the FISH probe IVD categories it qualifies. Information to support the intended purposes of all the reagents and their accessories must be submitted as part of the product registration application.

    - LIST OF FISH PROBES IVD GROUPING CATEGORIES

The list of FISH probes IVD grouping categories for the device specific grouping of Class B only and Class C only FISH probes IVD reagents and their accessories is a closed and positive list.

| S/N | FISH Probes IVD Grouping | Examples of Gene Targets |
| --- | --- | --- |
|  | Category (closed list) | (non-exhaustive list) |
| 1 | Selective Therapy | (i) | ALK gene |
|  |  | (ii) HER2 |
| 2 | Pre-natal Testing | (i) Chromosomes 13, 21, 18, X and Y |
| 3 | Genetic Testing of Inheritable | (i) | ELN gene |
|  | Disease |  |  |
| 4 | Pathogen Identification | (i) | Mycobacterium tuberculosis |
|  |  |  | complex (MTC) |
|  |  | (ii) Escherichia coli |
| 5 | Hematologic Disorder and Blood | (i) Chromosomes 3, 7, 9 and 11 |
|  | Cancer Markers |  |  |
| 6 | Other Cancer Markers | (i) | LAMP2 gene |
|  |  | (ii) Topoisomerase 2A gene |

Decision Flowchart for Grouping of Class B and Class C FISH Probes IVD

Grouping Category

From same Product

Owner?

No

Yes

| Same risk | No |
| --- | --- |
| classification (either |  |
| Class B only or |  |
| Class C only)? |  |
| Yes |  |
| Based on FISH | No |
| methodology? |  |

| Yes |  |  |
| --- | --- | --- |
| Falls within the |  |  |
|  |  | Cannot be submitted |
| same listed FISH | No |  |
|  |  | as one FISH Probes |
| probes IVD |  | IVD application; refer |
| Grouping |  |  |
|  |  | to GENERAL GROUPING CRITERIA guidance |
| Category? |  |  |
|  |  | document for other |
| Yes |  | grouping options |
| Can be submitted as |  |  |
| one FISH Probes IVD |  |  |
| grouping category |  |  |
| application |  |  |

Example:

Product Owner is “EFDA”

1 Class B FISH Probes IVD

grouping category

(e.g. Selective Therapy)

EFDA ABC FISH

Probes Kit for

selective therapy

EFDA XYZ FISH

Probes Kit for

selective therapy

Based on the example provided in Figure 5, the 2 FISH Probes IVD kits qualify for submission as one FISH Probes IVD grouping category of “Selective Therapy” and would be listed as 2 ERIS listings based on their proprietary names:

- EFDA ABC FISH Probes Kit (Selective Therapy)*

- EFDA XYZ FISH Probes Kit (Selective Therapy)**

- EFDA ABC FISH Probes kit as one listing in which EFDA is the product owner and ABC is the proprietary name.

- EFDA XYZ FISH Probes kit as one listing in which EFDA is the product owner and XYZ is the proprietary name.

  - DEVICE SPECIFIC GROUPING OF IN VITRO FERTILISATION MEDIA

In vitro fertilization (IVF) is a procedure in which eggs (ova) from a woman's ovary are removed. They are fertilised with sperm in a laboratory procedure, and then the fertilised egg (embryo) is returned to the woman's uterus.

IVF is a medical procedure where an egg is fertilised by a sperm outside the body: in vitro. IVF instruments and media are necessary to ensure this medical procedure is performed successfully. IVF media products are used in a wide range of in vitro procedures, involving processing, manipulation and conditioning of sperm, oocytes, blastocysts and embryos. The intended use of IVF media may range from maintenance of the physiological homeostasis required to support and promote fertilisation in vitro, to the maintenance of the physiological homeostasis of the cells during the cryopreservation process and the minimisation of cellular damage during the freezing process. IVF media products may be comprised of a cocktail of physiological inorganic salts, energy sources, amino acids and proteins, and are available in a range of different formulations available.

A device specific grouping of IVF media grouping category comprises of a collection of IVF media that are:

- from the same product owner;

- compatible when used together and intended to be used for an IVF procedure category as listed below

When IVF media products satisfy the criteria to be grouped into one of the prescribed IVF media grouping categories, they can be grouped together and submitted in one application for registration. In cases where the IVF media products have different device proprietary names, they may be grouped together during the product registration submission. However, the products will be listed separately on the ERIS based on their proprietary names.

The device name listed on the ERIS upon approval will be based on the proprietary name and the IVF Media grouping category used during product registration.

Alternatively, product owners and their applicants may choose to group these devices using the general grouping criteria in General Grouping Criteria.

    - LIST OF IVF MEDIA GROUPING CATEGORIES

The list of IVF Media grouping categories is a closed and positive list.

|  | S/N | IVF Media | Examples of Media Types |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Grouping Category | (non-exhaustive list) |  |  |
|  |  | (closed list) |  |  |  |
|  | 1 | IVF Media for | (i) | Oocyte Obtaining |  |  |
|  |  | Oocyte Handling | (ii) | Oocyte Processing |  |  |
|  |  |  | (iii) | Oocyte In Vitro Maturation |  |  |
|  |  |  | (iv) | Oocyte Polar Body Biopsy |  |  |
|  |  |  | (v) | Oocyte Cryopreservation |  |  |
|  |  |  | (vi) | Oocyte Storage |  |  |
|  |  |  | (vii) | Oocyte Thawing |  |  |
|  |  |  | (viii) | Oocyte Transport |  |  |
|  | 2 | IVF Media for Sperm | (i) | Semen/Sperm Obtaining |  |  |
|  |  | Handling | (ii) | Semen/Sperm Processing |  |  |
|  |  |  |  | (e.g. gradient, swim up, immobilisation, |  |
|  |  |  |  | washing) |  |  |
|  |  |  | (iii) | Semen/Sperm Cryopreservation |  |  |
|  |  |  | (iv) | Sperm Storage |  |  |
|  |  |  | (v) | Sperm Thawing |  |  |
|  |  |  | (vi) | Sperm Transport |  |  |
|  | 3 | IVF Media for | (i) | IVF with Insemination |  |  |
|  |  | Zygote Handling | (ii) | IVF with Intracytoplasmic Sperm Injection |  |
|  |  | (processing/media |  |  |  |
|  |  |  |  | (ICSI) |  |  |
|  |  | for maintenance of | (iii) | Zygotes Maintenance |  |  |
|  |  | zygotes/etc) |  |  |  |  |
|  |  |  | (iv) | Zygote Intrafallopian Transfer (ZIFT) |  |  |

|  | S/N | IVF Media | Examples of Media Types |  |
| --- | --- | --- | --- | --- |
|  |  | Grouping Category | (non-exhaustive list) |  |
|  |  | (closed list) |  |  |
|  | 4 | IVF Media for In vitro | (i) | In Vitro Embryo Obtaining |  |
|  |  | Embryo Handling | (ii) | In Vitro Embryo Culture And Assessment |  |
|  |  |  | (iii) | In Vitro Embryo Biopsy |  |
|  |  |  | (iv) | Assisted Hatching |  |
|  |  |  | (v) | In Vitro Embryo Cryopreservation |  |
|  |  |  | (vi) | In Vitro Embryo Storage |  |
|  |  |  | (vii) | In Vitro Embryo Thawing |  |
|  |  |  | (viii) | In Vitro Embryo Transport |  |
|  |  |  | (ix) | Embryo Transfer (Et) |  |

Decision Flowchart for Grouping of IVF Media Products

From same Product

Owner?

No

Yes

| Compatible when |  | Cannot be submitted |
| --- | --- | --- |
|  |  | as one IVF Media |
| used together and | No |  |
|  |  | application; refer to |
| falls within the same |  |  |
|  |  | GENERAL GROUPING CRITERIA guidance |
| listed IVF Grouping |  |  |
|  |  | document for other |
| Category? |  |  |
|  |  | grouping options |
| Yes |  |  |
| Can be submitted as one |  |  |
| device specific grouping |  |  |
| application for IVF Media |  |  |

  - DEVICE SPECIFIC GROUPING OF IVD ANALYSERS

IVD analysers are equipment intended to be used with IVD reagents so as to allow the IVD reagents to achieve their intended use. IVD analysers are typically instruments that analyse the reaction and yield a result of positive, negative, amount of analyte detected, etc.

An IVD analyser FAMILY is a collection of IVD analysers. Each analyser in the

FAMILY fulfills the following criteria:

- Same product owner;

- Same proprietary name;

- Same risk classification;

- Same methodology / principles of operation; and

- Differences among analysers fall within a list of permissible variants.

The IVD analyser FAMILY may contain accessories of the same or lower risk class if these accessories are specifically intended to be used with the analysers in the FAMILY.

Applicants may choose to list IVD analysers with their respective IVD TEST KITS using the IVD SYSTEM grouping criteria described in GENERAL GROUPING CRITERIA Guidance on Grouping of Medical Devices for Product Registration – General Grouping Criteria or to list IVD analysers separately as part of an IVD analyser FAMILY in a SPLIT listing.

    - LIST OF PERMISSIBLE VARIANTS FOR IVD ANALYSER FAMILY

Kindly refer to the table below for permissible and non-permissible variants for the IVD analyser FAMILY.

|  | Permissible Variants |  | Non-Permissible Variants |
| --- | --- | --- | --- |
| 1. Features that do not impact the | 1. Features that impact the |
| diagnostic function | diagnostic function or lead to different |
| • | throughput | performance characteristics for their |
|  |  | compatible reagent kits for example |
| • differences in user interface |  |
|  | but not limited to: |
| • | printing function |  | sensitivity |
| • | wireless capability |  | specificity |
| • | software |  | linearity |
| • | sample volume |  | measuring range |
| • | onboard stability | 2. | Methodology/ principles of |
| • | calibration frequency | operation |

Decision flowchart for grouping of IVD analysers as a FAMILY

From same

product owner?

Yes

Same

proprietary

name?

Yes

Same risk

classification?

Yes

Have same

methodology/

principle of

operation?

Yes

Analysers fall

within permissible

variants?

Yes

No

No

No

No

| No | Cannot be |
| --- | --- |
|  | grouped in 1 |
|  | listing. |

Can be grouped in 1 listing.

# Text boxes

Figure 5 Example of a Class B FISH Probes IVD grouping category with 2 products within the category